IGLU’® BARRIER Specifications

Protection of the underground waterproofing cover and insulation of retaining structures by providing Iglu’® Barrier elements in recycled plastic, resistant to chemical and organic substances, with a height of ____cm and a plan view size of 58x58 cm.

Daliform Group Iglu’® Barrier elements are equipped with a special self-blocking coupling for vertical stability and with 39 support feet per m2. Their base is circular and rounded, to guarantee proper ventilation of the cavity between the waterproofing membrane and the backfill. This results in an efficient water draining and in the elimination of damp in direct contact with the waterproofing.

Formworks in recycle plastic, such as Iglu’® Barrier, must be produced in “ALAPLEN® CP30”, must not release polluting substances, have an Environmental Compatibility Certification and be produced by a Company Certified according to International Standards UNI EN ISO 9001 (Quality), UNI EN ISO 14001 (Environment); UNI EN ISO 45001 (Safety) and SA 8000 (Social responsibility).

The company that supplies the Iglù® formworks must exhibit technical sheet and safety sheet for the product and for “ALAPLEN® CP30” grain texture and must also exhibit the product certificate approved by an EOTA member agency (European Organisation for Technical Approvals).

Inclusive of accessories, waste, cuttings, and all other charges: ______ /m2 ______